## Slide 1: 2D DRP Pipeline Plan
Hassan Siddiqui, Paul Price, Robert Lupton, Craig Loomis
Princeton University
PFS-DRP-PRU030003-01

## Slide 2: Data reduction schematic
2D Data Reduction Pipeline
(Princeton)
1D Data Reduction Pipeline
(LAM)
Coadded 1D spectra
Single combined visit
2D images
quartz
arcs
Operational
Database
Spec Lines
Spec params
Star spec params
STARS
ETS
Instrument
(or 2D simulator)
Target
constraints
pfiDesign

## Slide 3
Simulator
constructFiberTrace
Instrument
reduceArc
reduceExp
Combine
combineArms
combineVisits
combineAll
Spots
Spots
(from J Gunn’s simulator) Gunn’s Simulator)
Bootstrap
detectorMap
(from simulator)
Quartz
Arcs
Science
pfsSimObject
Bias
Dark
FiberFlat
pfsFiberTrace
pfsDetectorMap
pfsArm
pfsArm
pfsArm
pfsObject

## Slide 4
2018
2020
2021
DRP-4.0
Basic functionality
Basic unit tests
Commissioning
Ops
Development
2019

## Slide 5
2018
2020
2021
DRP-5.0
End to end demonstration (2D SIM + 2D DRP)
Output checked against ETC
DRP-4.0
Basic functionality
Basic unit tests
Commissioning
Ops
Development
2019

## Slide 6
2018
2020
2021
DRP-5.0
End to end demonstration (2D SIM + 2D DRP)
Output checked against ETC
DRP-4.0
Basic functionality
Basic unit tests
Commissioning
Ops
Development
2019
DRP-6.0
3 arms merged
(NIR handling initial)
Initial flat-fielding
DetectorMap generated
Initial flux calibration
More test coverage

## Slide 7
DRP-7.0
Initial PSF model with color dependence
Initial sky subtraction Initial telluric absorption
Improved NIR processing
2018
2020
2021
DRP-5.0
End to end demonstration (2D SIM + 2D DRP)
Output checked against ETC
DRP-4.0
Basic functionality
Basic unit tests
Commissioning
Ops
Development
2019
DRP-6.0
3 arms merged
(NIR handling initial)
Initial flat-fielding
DetectorMap generated
Initial flux calibration
More test coverage

## Slide 8
DRP-7.0
Initial PSF model with color dependence
Initial sky subtraction Initial telluric absorption
Improved NIR processing
2018
2020
2021
DRP-5.0
End to end demonstration (2D SIM + 2D DRP)
Output checked against ETC
DRP-4.0
Basic functionality
Basic unit tests
DRP-8.0
Updated 2D PSF model
Improved telluric modelling
Updated sky subtraction (to 1% TBC error level)
Speed performance improvement
Bug fixes
Commissioning
Ops
Development
2019
DRP-6.0
3 arms merged
(NIR handling initial)
Initial flat-fielding
DetectorMap generated
Initial flux calibration
More test coverage

## Slide 9
DRP-7.0
Initial PSF model with color dependence
Initial sky subtraction Initial telluric absorption
Improved NIR processing
2018
2020
2021
DRP-5.0
End to end demonstration (2D SIM + 2D DRP)
Output checked against ETC
DRP-4.0
Basic functionality
Basic unit tests
DRP-8.0
Updated 2D PSF model
Improved telluric modelling
Updated sky subtraction (to 1% TBC error level)
Speed performance improvement
Bug fixes
DRP-9.0
Improved sky subtraction
Missing functionality
Commissioning
Ops
Development
2019
DRP-6.0
3 arms merged
(NIR handling initial)
Initial flat-fielding
DetectorMap generated
Initial flux calibration
More test coverage

## Slide 10
DRP-7.0
Initial PSF model with color dependence
Initial sky subtraction Initial telluric absorption
Improved NIR processing
2018
2020
2021
DRP-5.0
End to end demonstration (2D SIM + 2D DRP)
Output checked against ETC
DRP-4.0
Basic functionality
Basic unit tests
DRP-8.0
Updated 2D PSF model
Improved telluric modelling
Updated sky subtraction (to 1% TBC error level)
Speed performance improvement
Bug fixes
DRP-9.0
Improved sky subtraction
Missing functionality
DRP-9.0
Sky sub to 0.5% level
Missing functionality
Refactoring
Speed improvements
DRP-10.0
TBW
Commissioning
Ops
Development
2019
DRP-6.0
3 arms merged
(NIR handling initial)
Initial flat-fielding
DetectorMap generated
Initial flux calibration
More test coverage

## Slide 11
DRP-7.0
Initial PSF model with color dependence
Initial sky subtraction Initial telluric absorption
Improved NIR processing
2018
2020
2021
DRP-5.0
End to end demonstration (2D SIM + 2D DRP)
Output checked against ETC
DRP-4.0
Basic functionality
Basic unit tests
DRP-8.0
Updated 2D PSF model
Improved telluric modelling
Updated sky subtraction (to 1% TBC error level)
Speed performance improvement
Bug fixes
DRP-9.0
Improved sky subtraction
Missing functionality
DRP-9.0
Sky sub to 0.5% level
Missing functionality
Refactoring
Speed improvements
DRP-10.0
TBW
Commissioning
Ops
Development
2019
DRP-6.0
3 arms merged
(NIR handling initial)
Initial flat-fielding
DetectorMap generated
Initial flux calibration
More test coverage

## Slide 12: Personnel
Paul Price (infrastructure, flux calibration and algorithms)
Neven Caplar (2D PSF modelling)
  Limited availability Feb-Mar 2019
Keigo Nakamura (2D sky subtraction)
  New developer – needs time to familiarize himself (ready ~Mar 2019)
Sogo Mineo, Naoki Yasuda and Masayuki Tanaka (1D sky subtraction and flux calib)
Craig Loomis (general) [20% FTE]
Robert Lupton (general) [10%]
Hassan Siddiqui (algorithms) [20%]